|  |  |  |  |  |
| --- | --- | --- | --- | --- |
| **Sr. No.** | **Location** | **Zone** | **Status** | **Remarks** |
| 1 |  |  |  |  |
| 2 |  |  |  |
| 3 |  |  |  |  |
| 4 |  |  |  |  |
| 5 |  |  |  |
| 6 |  |  |  |
| 7 |  |  |  |  |
| 8 |  |  |  |
| 9 |  |  |  |  |
| 10 |  |  |  |
| 11 |  |  |  |  |
| 12 |  |  |  |
| 13 |  |  |  |  |
| 14 |  |  |  |
| 15 |  |  |  |  |

**Inspected By** (ERT Leader & EMD Team): \_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_\_

**Instructions:**

1. Check sensitivity of smoke and heat detector by use smoke and heat source.

2. Check working condition of fire alarm button and fire alarm bell.

3. Check the fire alarm control panel and set according to requirements.

4. Ensure the sound reaching in all areas