|  |  |  |
| --- | --- | --- |
| Year:\_\_\_\_\_\_\_\_  **F.E Inspection Log**  Description: Description: C:\Users\DELL755\AppData\Local\Microsoft\Windows\Temporary Internet Files\Content.Outlook\3V9NY3NK\Binrasheed logo ISO.pngFE No.\_\_\_\_\_\_\_\_ Location: \_\_\_\_\_\_\_\_\_\_Type:\_\_\_\_\_\_\_\_\_\_\_\_  DOC#: BRCC/MGT/FRM-66, ISSUE STATUS: 01, ISSUE DATE: JULY 25, 2019 | | |
| **Month** | **Checked by** | **Comments** |
| January |  |  |
| February |  |  |
| March |  |  |
| April |  |  |
| May |  |  |
| June |  |  |
| July |  |  |
| August |  |  |
| September |  |  |
| October |  |  |
| November |  |  |
| December |  |  |
| **Fire Extinguisher Check list**  1. Nothing blocking access to extinguisher. 2. Pressure gauge shows fully charged.  3. Pin and tamper seat are intact. 4. Handle is undamaged.  5. Hose/nozzle free of cracks, tears or obstructions. 6. Inspection tag is attached and updated.  7. Dry powder chemical is moving freely inside cylinder  8. No dents, leaks, rust, chemical deposits and/or other signs of abuse/wear. | | |