|  |  |  |
| --- | --- | --- |
| **s/r** | **Parts** | **Work Descriptions** |
| **1** | **TDS** | Check the TDS meter it is working properly |
| **2** | **Water Taste** | Check the taste of water and quality |
| **3** | **Turbo Pump** | Check the working condition of Turbo Pump whether it’s ok OR Not |
| **4** | **Pressure Gauges** | Check the gauges these are working properly |
| **5** | **Water Filters** | Check the filters condition and cleaned every week |
| **6** | **Dozing pump** | Check the working condition of Pump whether it’s ok OR Not |
| **7** | **Water outlet & Water inlet** | Check the working condition of outlet and inlet. |
| **9** | **Control panel** | Check the whole electrical control circuit. |

|  |  |  |
| --- | --- | --- |
| **Author** | **Reviewed by** | **Approved by** |
| Name : Abu Bakar | Name: Muhammad Abdul Basit | Name: Shahid Sultan Butt |
| Designation :Assistant Engineer | Designation; Assistant Manager | Designation: GM |
| Dated: 15/09/2018 | Dated:15/09/2018 | Dated:15/09/2018 |