|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  | **Date: 15/12/2020** |
|  |  |  |  |  |  |
| **WAPDA Bill Reading** | | | | | |
| **Sr. No.** | **Timing** | **KWH** | **KVARH** | **MDI** | **Remarks** |
| 1 | Off Peak | 4493 | 969 | 0.34 |  |
| 2 | Peak | 933 | 206 | 0.33 |  |
|  |  |  |  |  |  |

|  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- |
|  |  |  |  |  |  |
|  |  |  |  |  |  |
| **Sign Reading Of Meter Reader (Verified By Us)** | | | | | |
| **Sr. No.** | **Timing** | **KWH** | **KVARH** | **MDI** | **Remarks** |
| 1 | Off Peak | 4493.22 | 969.75 | 0.34 |  |
| 2 | Peak | 933.37 | 206.33 | 0.33 |  |
|  |  |  |  |  |  |

**Note: There is no difference in reading. So, Bill is Okay.**

|  |
| --- |
| **Maintenance Head** |
| Waqar Islam |